No. 2667-DT Craftsmen Litter Container with Dome Top

(U.S. Patent Des. 370,570)

Litter Container shall be TimberForm® Craftsmen® series model No. 2667-DT, 36-gallon capacity, in the color finish selected by the owner's representative and in the quantity shown on the bill of materials or the project drawings. Manufacturer, Columbia Cascade Company, 1300 SW Sixth Avenue, Suite 310, Portland, OR 97201-3464 U.S.A.

1.  Materials

Litter container body shall be cast iron conforming to ASTM Specification A48-82, Class 30.  Standard sides shall include a chrysanthemum graphic with rhododendron and other custom graphics available upon request.  Each side shall also accommodate raised lettering available in a variety of capital letter styles.  Top and bottom connection plates shall be fabricated from .25-inch (1/4”) thick mild steel. Dome top shall include .125 inch thick mild steel plate with 13 inch diameter center hole and an 18 inch diameter 14 gauge steel dome with two 6 inch radius openings.  Dome top shall be finished in matching color and include a keyed-cylinder lock.  Litter container shall include a recycled plastic liner. Half -inch (1/2”) diameter holes provided for anchor bolts supplied by installing contractor.

2.  Construction

Sides shall have all parting lines and flask marks manually ground smooth after casting.  Installing contractor shall assemble the four body sides, top and bottom connection plates, separate liner, and matching top into a single unit.

3.  Finish

All metal parts shall be coated with CASPAX-7, a tough, opaque, UV resistant exterior grade polyester powder coating applied to a minimum thickness of 6 mils.  Liquid, epoxy or lead-containing powder coatings are not acceptable.

Preparation of the substrate shall incorporate the phosphate system.  Substrate preparation shall consist first of mechanical cleaning to remove heavy mill scale, rust, varnish, grease, etc., with surfaces uniformly abraded to promote quality of finish coating.  Chemical cleaning in accordance with TT-C-490C, Methods I and III shall remove impurities from the surfaces.

After the two-step cleaning process, the metal substrate shall receive a corrosion- inhibiting iron phosphate pre-coating in accordance with TT-C-490C, Type II, prior to the application of the powder color coat.  The color coating shall be applied by the electrostatic method and then oven-cured at 400 degrees Fahrenheit to chemically bond the coating to the substrate and to render the coated metal resistant to abrasion, impact, chipping, weathering, and rusting.