No. 2888 Profile Bench

Bench shall be TimberForm® Profile(  series model No. 2888, with sections, in the length and color finish selected by the owner's representative and in the quantity shown on the bill of materials or the project drawings.  Inside radius shall be 4'-6" and outside radius shall be 7'.  Manufacturer, Columbia Cascade Company, 1300 SW Sixth Avenue, Suite 310, Portland OR 97201-3464 U.S.A.

1.  Materials

Posts and support beam shall be fabricated from 4 inch i.d. schedule 40 mild steel seamless pipe.  Section frames shall be fabricated from 3/4 inch i.d. schedule 40 mild steel seamless pipe.  Bench baskets shall be fabricated from 1 inch x 1 inch x 1/8 inch welded wire grid.  Separate mounting hardware shall be -P pedestal (fixed leveling) or -E embedded (permanent) as selected by the owner's representative.  A matching decorative base cover shall conceal mounting hardware for pedestal mount option.

2.  Construction

Posts and support beam shall be permanently welded together.  Support beam shall have permanently welded 3/16 inch steel plate end caps.  Each wire grid shall be permanently welded to section frame.  Trimmed ends shall be ground flush.  Welds shall be smooth and continuous with no gaps or pin holes.  Final product shall be free of weld spatters and burrs.

3.  Finish

Steel and cast iron parts shall be coated with CASPAX-7(, a tough, opaque, UV resistant exterior grade polyester powder coating applied to a minimum thickness of 6 mils.  Liquid, epoxy or lead-containing powder coatings are not acceptable.

Preparation of the mild steel substrate shall incorporate the phosphate system.  Substrate preparation shall consist first of mechanical cleaning to remove heavy mill scale, rust, varnish, grease, etc., with surfaces uniformly abraded to promote quality of finish coating.  Chemical cleaning in accordance with TT-C-490C, Methods I and III shall remove impurities from the surfaces.

After the two-step cleaning process, the metal substrate shall receive a corrosion-inhibiting iron phosphate pre-coating in accordance with TT-C-490C, Type II, prior to the application of the powder color coat.  The color coating shall be applied by the electrostatic method and then oven-cured at 400 degrees Fahrenheit to chemically bond the coating to the substrate and to render the coated metal resistant to abrasion, impact, chipping, weathering, and rusting.